## HVAC Diagnosis Form
HVAC Diagnosis Form (Air Conditioning, Heating, Ductwork)
Tech's Name:
Company:
Date Onsite:
Preferred Method of Contact: | Tech's Phone # or Email address
Service Order #
How long was diagnosis?
CURRENT UNIT INFORMATION (Heating and AC only - no "unit info" for ductwork needed)
Brand | M# | S# | Age | Tonnage
Maintenance Condition | Warranty Status | #of units | Zone Served
Efficiencey Rating (SEER or %)
Additional Specs required by Type (nothing needed for Ductwork)
Straight AC | Heat Pump | Gas Pac | Packaged Heat Pump | Furnace
r22/r410a/other (defined) | r22/r410a/other (defined) | r22/r410a/other (defined) | r22/r410a/other (defined) | BTU
Inside Equipment Coil/Airhandler/Other (defined) | Inside Equipment Coil/Airhandler/Other (defined) | BTU | Heat Strips KW
Diagnosis (insert row for each additional part)
What Part Failed? | Failure to part:
Cause of Failure (highlight your selection) | Further Elaboration (if Needed):
Normal w/t
improper install
improper previous repair
tampered with
missing parts,
not normal w/t
other (explain)
Costs T&M:
Labor (#of hours @ hr rate): | $
Tech supplied parts (insert row for each additional part)
Part name and #: | $
Part name and #: | $
Part name and #: | $
Part name and #: | $
Part name and #: | $
Part name and #: | $
Modification Coverage (if Applicable) | $
Tax: | $
Total Parts and Labor | 0
Costs Flat Rate (insert row for each additional part):
Part | $
Part | $
Part | $
Part | $
Modification Coverage (if Applicable) | $
Total | 0
Modification Coverage (If Applicable for HVAC Replacement)
Labor to install the indoor equipment | $
Drain (PVC/Condensate) Mods | $
Line set flush | $
Indoor Copper (lineset) Mods | $
Any extra r410a to fill up the line set (should be 1-3 lbs) | $
Total To Tech (add this amount to the standard cost section as well) | 0
Indoor Equipment (coil/airhandler/heatstrips/txv) | $
Total Mod Coverage | 0
Mod Coverage Cap Remainder
Non-Covered Charges
Item | Why not covered | $
Item | Why not covered | $
Item | Why not covered | $
Item | Why not covered | $
Item | Why not covered | $
Item | Why not covered | $
Total to Homeowner |  | 0
Green Plus (90%+) Non-Covered Charges(If Applicable for FURNACE REPLACEMENT)
Item | Why not covered | $
Item | Why not covered | $
Item | Why not covered | $
Item | Why not covered | $
Item | Why not covered | $
Item | Why not covered | $
Total to Homeowner |  | 0
TCF Amount: $
Is TCF due? | Was TCF Collected? | How was TCF Collected?
DECISION:
Cover Claim
Claim Rejected | Rejection reason including contract section
Partial Rejection | Rejection reason including contract section
HVAC REPLACEMENT ONLY - New Equipment SPECS/Purchasing Info
Condenser | Compressor | Evap Coil | Air Handler | Gas Furnace | Gas Pac | Packaged Heat Pump
Straight AC/Heat Pump | Straight AC/Heat Pump | Horizontal/Vertical/Slab | Straight AC/Heat Pump (if it matters) | Efficiency % | Tonnage | Tonnage
Tonnage | BTU | Cased/Uncased | Tonnage | BTU | BTU
SEER Requirement in this state (not necessarily the current unit seer rating) | Tonnage | Upflow/Downflow | Dimensions to match (if needed) | Drive Tonnage | SEER Requirement in this state (not necessarily the current unit seer rating) | SEER Requirement in this state (not necessarily the current unit seer rating)
If only the condenser has failed, will the indoor unit be compatible? | Scroll/Recip | Dimensions to match (if needed) | Heat Strips KW/Breaker or Not | M#/P# to order from buyer's guide | M#/P# to order from buyer's guide | Heat Strips KW/Breaker or Not
Do you need - TXV (r410a/r22) *the condensers we order have a new filter drier installed on them already - no need to order an additional one* | Do you need - Run cap/filter drier (liquid or biflow) | Tonnage | Do you need - TXV (r410a or r22)/Filter Drier (liquid or biflow) | PU Location or Ship to Shop Address | PU Location or Ship to Shop Address | M#/P# to order from buyer's guide
M#/P# to order from buyer's guide | M#/P# to order from buyer's guide - If Trane condenser - need OEM Trane Compressor P# from tech | Do you need - TXV (r410a or r22)/Filter Drier (liquid or biflow) | M#/P# to order from buyer's guide |  |  | PU Location or Ship to Shop Address
PU Location or Ship to Shop Address | PU Location or Ship to Shop Address | M#/P# to order from buyer's guide -If coil is inside of an air handler or packaged unit, get OEM coil P# from tech | PU Location or Ship to Shop Address
PU Location or Ship to Shop Address
BUYOUT OPTION (if there are NC charges)
Revisions: